## Test runs
Job number | Run ID | Serial number | Test date | Test number | Status | Decision | Started (UTC) | Completed (UTC) | Failed attempts | Previously failed steps | Notes | Preparation ¦ Result | Preparation ¦ Attempts | Preparation ¦ fixture | Preparation ¦ sealed | Preparation ¦ zero | Test 1 — CDA 1 ¦ Result | Test 1 — CDA 1 ¦ Attempts | Test 1 — CDA 1 ¦ QDF6_initial | Test 1 — CDA 1 ¦ QDM14_initial | Test 1 — CDA 1 ¦ QDF2_initial | Test 1 — CDA 1 ¦ QDF4_initial | Test 1 — CDA 1 ¦ QDF6_final | Test 1 — CDA 1 ¦ QDM14_final | Test 1 — CDA 1 ¦ QDF2_final | Test 1 — CDA 1 ¦ QDF4_final | Test 1 — CDA 1 ¦ elapsed_seconds | Test 1 — CDA 1 ¦ QDF6_difference | Test 1 — CDA 1 ¦ QDF6_decay | Test 1 — CDA 1 ¦ QDF6_pass | Test 1 — CDA 1 ¦ QDM14_difference | Test 1 — CDA 1 ¦ QDM14_decay | Test 1 — CDA 1 ¦ QDM14_pass | Test 1 — CDA 1 ¦ QDF2_difference | Test 1 — CDA 1 ¦ QDF2_decay | Test 1 — CDA 1 ¦ QDF2_pass | Test 1 — CDA 1 ¦ QDF4_difference | Test 1 — CDA 1 ¦ QDF4_decay | Test 1 — CDA 1 ¦ QDF4_pass | Test 2 — CDA 2 ¦ Result | Test 2 — CDA 2 ¦ Attempts | Test 2 — CDA 2 ¦ QDM14_zero | Test 3 — CDA 3 ¦ Result | Test 3 — CDA 3 ¦ Attempts | Test 3 — CDA 3 ¦ QDF18_initial | Test 3 — CDA 3 ¦ QDM7_initial | Test 3 — CDA 3 ¦ QDF18_final | Test 3 — CDA 3 ¦ QDM7_final | Test 3 — CDA 3 ¦ elapsed_seconds | Test 3 — CDA 3 ¦ QDF18_difference | Test 3 — CDA 3 ¦ QDF18_decay | Test 3 — CDA 3 ¦ QDF18_pass | Test 3 — CDA 3 ¦ QDM7_difference | Test 3 — CDA 3 ¦ QDM7_decay | Test 3 — CDA 3 ¦ QDM7_pass | ER1 — Pre-calibration ¦ Result | ER1 — Pre-calibration ¦ Attempts | ER1 — Pre-calibration ¦ R5_precalibration | Test 4 — ER1 decay ¦ Result | Test 4 — ER1 decay ¦ Attempts | Test 4 — ER1 decay ¦ CV5_initial | Test 4 — ER1 decay ¦ QDM5_initial | Test 4 — ER1 decay ¦ QDF22_initial | Test 4 — ER1 decay ¦ CV5_final | Test 4 — ER1 decay ¦ QDM5_final | Test 4 — ER1 decay ¦ QDF22_final | Test 4 — ER1 decay ¦ elapsed_seconds | Test 4 — ER1 decay ¦ CV5_difference | Test 4 — ER1 decay ¦ CV5_decay | Test 4 — ER1 decay ¦ CV5_pass | Test 4 — ER1 decay ¦ QDM5_difference | Test 4 — ER1 decay ¦ QDM5_decay | Test 4 — ER1 decay ¦ QDM5_pass | Test 4 — ER1 decay ¦ QDF22_difference | Test 4 — ER1 decay ¦ QDF22_decay | Test 4 — ER1 decay ¦ QDF22_pass | Test 4.5 — CV3 / ER1 ¦ Result | Test 4.5 — CV3 / ER1 ¦ Attempts | Test 4.5 — CV3 / ER1 ¦ CV5_pressure | Test 4.5 — CV3 / ER1 ¦ CV3_airflow | Test 4.5 — CV3 / ER1 ¦ CV5_stable | Test 5 — Vac 1 ¦ Result | Test 5 — Vac 1 ¦ Attempts | Test 5 — Vac 1 ¦ QDF3_initial | Test 5 — Vac 1 ¦ QDF3_final | Test 5 — Vac 1 ¦ elapsed_seconds | Test 5 — Vac 1 ¦ QDF3_difference | Test 5 — Vac 1 ¦ QDF3_decay | Test 5 — Vac 1 ¦ QDF3_pass | Test 6 — Vac 2 ¦ Result | Test 6 — Vac 2 ¦ Attempts | Test 6 — Vac 2 ¦ QDM1_1V | Test 6 — Vac 2 ¦ QDF19_1V | Test 6 — Vac 2 ¦ QDM1_3V | Test 6 — Vac 2 ¦ QDF19_3V | Test 6 — Vac 2 ¦ QDM1_5V | Test 6 — Vac 2 ¦ QDF19_5V | Test 6 — Vac 2 ¦ QDM1_8V | Test 6 — Vac 2 ¦ QDF19_8V | Test 6 — Vac 2 ¦ QDM1_10V | Test 6 — Vac 2 ¦ QDF19_10V | Test 6 — Vac 2 ¦ return_zero | Test 6 — Vac 2 ¦ QDM1_1V_pass | Test 6 — Vac 2 ¦ QDF19_1V_pass | Test 6 — Vac 2 ¦ QDM1_3V_pass | Test 6 — Vac 2 ¦ QDF19_3V_pass | Test 6 — Vac 2 ¦ QDM1_5V_pass | Test 6 — Vac 2 ¦ QDF19_5V_pass | Test 6 — Vac 2 ¦ QDM1_8V_pass | Test 6 — Vac 2 ¦ QDF19_8V_pass | Test 6 — Vac 2 ¦ QDM1_10V_pass | Test 6 — Vac 2 ¦ QDF19_10V_pass
1004202 | 1 | 1004202-01 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 03:56 | 2026-10-13 04:00 | 1 | Test 4 — ER1 decay | Previous failure at Test 4 — ER1 decay: QDF22 decay | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.2 | 86.5 | 27.5 | 27.3 | 87.2 | 86.5 | 27.5 | 27.3 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.5 | 86.5 | 86.4 | 86.5 | 60 | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.23 | Pass | 2 | 3.05 | 22.4 | 22.4 | 3.05 | 22.4 | 22.4 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.43 | TRUE | TRUE | Pass | 1 | -693 | -693 | 60 | 0 | 0 | TRUE | Pass | 1 | -74 | -74 | -224 | -224 | -375 | -375 | -600 | -600 | -686 | -686 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 2 | 1004202-02 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:01 | 2026-10-13 04:06 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.2 | 87 | 27.5 | 27.3 | 87.2 | 87 | 27.5 | 27.3 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.7 | 86.8 | 86.7 | 86.7 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 3.9 | Pass | 1 | 2.99 | 22.4 | 22.4 | 2.99 | 22.4 | 22.4 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -692 | -692 | 60 | 0 | 0 | TRUE | Pass | 1 | -61 | -61 | -215 | -215 | -369 | -369 | -599 | -599 | -681 | -681 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 3 | 1004202-03 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:07 | 2026-10-13 04:10 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.3 | 86.6 | 27.8 | 27.7 | 87.3 | 86.6 | 27.8 | 27.7 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.5 | 86.4 | 86.5 | 86.4 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.5 | Pass | 1 | 3.03 | 22.2 | 22.2 | 3.02 | 22.2 | 22.2 | 60 | 0.01 | 0.01 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.43 | TRUE | TRUE | Pass | 1 | -694 | -694 | 60 | 0 | 0 | TRUE | Pass | 1 | -63 | -63 | -216 | -216 | -369 | -369 | -599 | -599 | -684 | -684 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 4 | 1004202-04 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:11 | 2026-10-13 04:14 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.2 | 86.6 | 27.3 | 27.1 | 87.2 | 86.5 | 27.3 | 27.1 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.3 | 86.3 | 86.2 | 86.2 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 3.22 | Pass | 1 | 3.04 | 22.5 | 22.5 | 3.04 | 22.5 | 22.5 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -688 | -688 | 60 | 0 | 0 | TRUE | Pass | 1 | -68 | -68 | -221 | -221 | -372 | -372 | -598 | -598 | -682 | -682 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 5 | 1004202-05 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:15 | 2026-10-13 04:18 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.3 | 87.1 | 27.5 | 27.4 | 87.3 | 87 | 27.5 | 27.4 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 87 | 86.9 | 87 | 86.9 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.86 | Pass | 1 | 3.04 | 22.3 | 22.3 | 3.04 | 22.3 | 22.3 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -695 | -695 | 60 | 0 | 0 | TRUE | Pass | 1 | -64 | -64 | -217 | -217 | -370 | -370 | -598 | -598 | -687 | -687 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 6 | 1004202-06 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:18 | 2026-10-13 04:22 | 0 |  | This ER2 was tuned. | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.2 | 86.4 | 26.3 | 26.2 | 87.1 | 86.4 | 26.3 | 26.2 | 60 | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.6 | 86.6 | 86.6 | 86.6 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 4.42 | Pass | 1 | 3.04 | 22.2 | 22.2 | 3.03 | 22.2 | 22.2 | 60 | 0.01 | 0.01 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.43 | TRUE | TRUE | Pass | 1 | -693 | -693 | 60 | 0 | 0 | TRUE | Pass | 1 | -81 | -81 | -235 | -235 | -386 | -386 | -613 | -613 | -685 | -685 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 7 | 1004202-07 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:22 | 2026-10-13 04:25 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.2 | 86.8 | 27.3 | 27.2 | 87.2 | 86.8 | 27.3 | 27.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.9 | 86.9 | 86.9 | 86.9 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.83 | Pass | 1 | 3.03 | 22.6 | 22.6 | 3.03 | 22.6 | 22.6 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -686 | -686 | 60 | 0 | 0 | TRUE | Pass | 1 | -71 | -71 | -221 | -221 | -371 | -371 | -595 | -595 | -680 | -680 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 8 | 1004202-08 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:26 | 2026-10-13 04:32 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.2 | 85.6 | 27.3 | 27.2 | 86.2 | 85.6 | 27.3 | 27.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.7 | 85.7 | 85.6 | 85.7 | 60 | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.6 | Pass | 1 | 3 | 22.5 | 22.5 | 2.98 | 22.5 | 22.5 | 60 | 0.02 | 0.02 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.4 | TRUE | TRUE | Pass | 1 | -687 | -687 | 60 | 0 | 0 | TRUE | Pass | 1 | -75 | -75 | -226 | -226 | -377 | -377 | -600 | -600 | -680 | -680 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 9 | 1004202-09 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:33 | 2026-10-13 04:36 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.1 | 85.4 | 26.9 | 26.9 | 86 | 85.3 | 26.9 | 26.9 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.4 | 85.4 | 85.3 | 85.3 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 4.1 | Pass | 1 | 3.01 | 22.7 | 22.7 | 3.01 | 22.7 | 22.7 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.45 | TRUE | TRUE | Pass | 1 | -694 | -694 | 60 | 0 | 0 | TRUE | Pass | 1 | -62 | -62 | -218 | -218 | -371 | -371 | -602 | -602 | -688 | -688 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 10 | 1004202-10 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:36 | 2026-10-13 04:39 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.1 | 86 | 26.2 | 26.1 | 86 | 85.9 | 26.2 | 26.1 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.8 | 85.7 | 85.6 | 85.5 | 60 | 0.2 | 0.2 | TRUE | 0.2 | 0.2 | TRUE | Pass | 1 | 3.81 | Pass | 1 | 3.01 | 22.4 | 22.4 | 3.01 | 22.4 | 22.4 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.47 | TRUE | TRUE | Pass | 1 | -707 | -706 | 60 | 1 | 1 | TRUE | Pass | 1 | -65 | -65 | -216 | -216 | -368 | -368 | -594 | -594 | -701 | -701 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 11 | 1004202-11 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:39 | 2026-10-13 04:42 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86 | 85.3 | 27.4 | 27.2 | 86 | 85.3 | 27.4 | 27.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.1 | 85.2 | 85.1 | 85.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 1.62 | Pass | 1 | 2.94 | 22.5 | 22.5 | 2.94 | 22.5 | 22.5 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -697 | -697 | 60 | 0 | 0 | TRUE | Pass | 1 | -81 | -81 | -235 | -235 | -386 | -386 | -611 | -611 | -690 | -690 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 12 | 1004202-12 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:43 | 2026-10-13 04:47 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.1 | 85.5 | 27.4 | 27.3 | 86.1 | 85.5 | 27.4 | 27.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.6 | 85.6 | 85.5 | 85.5 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 3.54 | Pass | 1 | 3 | 22.4 | 22.4 | 2.99 | 22.4 | 22.4 | 60 | 0.01 | 0.01 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.43 | TRUE | TRUE | Pass | 1 | -692 | -692 | 60 | 0 | 0 | TRUE | Pass | 1 | -79 | -79 | -230 | -230 | -380 | -380 | -604 | -604 | -686 | -686 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 13 | 1004202-13 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:47 | 2026-10-13 04:50 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 85.9 | 85.2 | 26.7 | 26.5 | 85.7 | 85 | 26.7 | 26.5 | 60 | 0.2 | 0.2 | TRUE | 0.2 | 0.2 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.2 | 85.2 | 85.2 | 85.1 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 4.4 | Pass | 1 | 2.93 | 22.7 | 22.7 | 2.93 | 22.7 | 22.7 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.45 | TRUE | TRUE | Pass | 1 | -688 | -688 | 60 | 0 | 0 | TRUE | Pass | 1 | -77 | -77 | -228 | -228 | -379 | -379 | -603 | -603 | -684 | -684 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 14 | 1004202-14 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:51 | 2026-10-13 04:54 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 85.9 | 85.2 | 27.5 | 27.4 | 85.9 | 85.1 | 27.5 | 27.4 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.2 | 85.2 | 85.2 | 85.1 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 4.17 | Pass | 1 | 3.02 | 22.7 | 22.7 | 3.01 | 22.7 | 22.7 | 60 | 0.01 | 0.01 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -694 | -694 | 60 | 0 | 0 | TRUE | Pass | 1 | -77 | -77 | -230 | -230 | -382 | -382 | -605 | -605 | -689 | -689 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 15 | 1004202-15 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:54 | 2026-10-13 04:58 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.1 | 85.4 | 27.5 | 27.4 | 86.1 | 85.4 | 27.5 | 27.4 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.2 | 85.2 | 85.2 | 85.1 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 3.82 | Pass | 1 | 2.95 | 21.6 | 21.6 | 2.94 | 21.6 | 21.6 | 60 | 0.01 | 0.01 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -694 | -694 | 60 | 0 | 0 | TRUE | Pass | 1 | -77 | -77 | -227 | -227 | -385 | -385 | -606 | -606 | -687 | -687 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 16 | 1004202-16 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 04:58 | 2026-10-13 05:02 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86 | 85.4 | 26.1 | 25.9 | 86 | 85.3 | 26.1 | 25.9 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.2 | 85.2 | 85.2 | 85.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 4.12 | Pass | 1 | 3.04 | 22.4 | 22.4 | 3.03 | 22.4 | 22.4 | 60 | 0.01 | 0.01 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.44 | TRUE | TRUE | Pass | 1 | -699 | -699 | 60 | 0 | 0 | TRUE | Pass | 1 | -73 | -73 | -224 | -224 | -375 | -375 | -600 | -600 | -691 | -691 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 17 | 1004202-17 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 05:02 | 2026-10-13 05:05 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86 | 85.2 | 26.1 | 26 | 85.9 | 85.2 | 26.1 | 26 | 60 | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.1 | 85.2 | 85.1 | 85.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.75 | Pass | 1 | 2.97 | 22.2 | 22.2 | 2.97 | 22.2 | 22.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.4 | TRUE | TRUE | Pass | 1 | -692 | -692 | 60 | 0 | 0 | TRUE | Pass | 1 | -71 | -71 | -224 | -224 | -377 | -377 | -605 | -605 | -684 | -684 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 18 | 1004202-18 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 05:06 | 2026-10-13 05:09 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 85.8 | 85.3 | 25.7 | 25.5 | 85.7 | 85.3 | 25.7 | 25.5 | 60 | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.2 | 85.1 | 85.2 | 85.1 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.69 | Pass | 1 | 3 | 22.3 | 22.3 | 2.99 | 22.3 | 22.3 | 60 | 0.01 | 0.01 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -687 | -687 | 60 | 0 | 0 | TRUE | Pass | 1 | -69 | -69 | -223 | -223 | -376 | -376 | -604 | -604 | -678 | -678 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 19 | 1004202-19 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 05:09 | 2026-10-13 05:12 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 85.9 | 85.4 | 26.9 | 26.7 | 85.9 | 85.4 | 26.8 | 26.6 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.6 | 85.6 | 85.6 | 85.5 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 3.86 | Pass | 1 | 2.99 | 22.7 | 22.7 | 2.99 | 22.7 | 22.7 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.43 | TRUE | TRUE | Pass | 1 | -689 | -689 | 60 | 0 | 0 | TRUE | Pass | 1 | -78 | -78 | -228 | -228 | -376 | -376 | -599 | -599 | -682 | -682 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 20 | 1004202-20 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 05:12 | 2026-10-13 05:16 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 85.8 | 85.3 | 27.6 | 27.2 | 85.8 | 85.2 | 27.5 | 27.1 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | TRUE | Pass | 1 | 84.7 | 84.9 | 84.7 | 84.9 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.65 | Pass | 1 | 3.02 | 22.5 | 22.5 | 3.02 | 22.5 | 22.5 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.43 | TRUE | TRUE | Pass | 1 | -689 | -689 | 60 | 0 | 0 | TRUE | Pass | 1 | -71 | -71 | -225 | -225 | -377 | -377 | -604 | -604 | -683 | -683 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 21 | 1004202-21 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 05:16 | 2026-10-13 05:19 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.9 | 86.6 | 26.5 | 26 | 86.9 | 86.6 | 26.5 | 26 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86 | 86.1 | 86 | 86.1 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.43 | Pass | 1 | 2.96 | 22.2 | 22.2 | 2.96 | 22.2 | 22.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.41 | TRUE | TRUE | Pass | 1 | -699 | -699 | 60 | 0 | 0 | TRUE | Pass | 1 | -75 | -75 | -229 | -229 | -381 | -381 | -606 | -606 | -682 | -682 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 22 | 1004202-22 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 05:19 | 2026-10-13 05:22 | 1 | Preparation | Previous failure at Preparation: Fixtures Connected; Tubing and Fittings Sealed; All Sensors Zeroed | Pass | 2 | TRUE | TRUE | TRUE | Pass | 1 | 86.9 | 86.2 | 26 | 25.5 | 86.8 | 86.2 | 26 | 25.5 | 60 | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.9 | 86 | 85.9 | 86 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.9 | Pass | 1 | 3.07 | 22.4 | 22.4 | 3.07 | 22.4 | 22.4 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -701 | -701 | 60 | 0 | 0 | TRUE | Pass | 1 | -76 | -76 | -228 | -228 | -380 | -380 | -604 | -604 | -690 | -690 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 23 | 1004202-23 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 05:23 | 2026-10-13 05:26 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.5 | 86.8 | 27.2 | 27.1 | 87.5 | 86.7 | 27.2 | 27.1 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.9 | 86.9 | 86.9 | 86.9 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.67 | Pass | 1 | 2.98 | 22.6 | 22.4 | 2.98 | 22.6 | 22.4 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.41 | TRUE | TRUE | Pass | 1 | -691 | -691 | 60 | 0 | 0 | TRUE | Pass | 1 | -78 | -78 | -228 | -228 | -378 | -378 | -601 | -601 | -674 | -674 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 24 | 1004202-24 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 05:27 | 2026-10-13 05:30 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.4 | 86.7 | 27.2 | 26.9 | 87.4 | 86.6 | 27.1 | 26.9 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.4 | 86.4 | 86.4 | 86.4 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.45 | Pass | 1 | 3.02 | 22.5 | 22.5 | 3.01 | 22.5 | 22.5 | 60 | 0.01 | 0.01 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -690 | -690 | 60 | 0 | 0 | TRUE | Pass | 1 | -74 | -74 | -224 | -224 | -374 | -374 | -598 | -598 | -687 | -687 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 25 | 1004202-25 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 05:30 | 2026-10-13 05:34 | 2 | Test 4 — ER1 decay | Previous failure at Test 4 — ER1 decay: CV5 decay Previous failure at Test 4 — ER1 decay: CV5 decay | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.1 | 86.4 | 26.7 | 26.4 | 87.1 | 86.3 | 26.7 | 26.4 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.2 | 86.2 | 86.2 | 86.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.89 | Pass | 3 | 3.01 | 22.4 | 22.4 | 3 | 22.4 | 22.4 | 60 | 0.01 | 0.01 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -694 | -694 | 60 | 0 | 0 | TRUE | Pass | 1 | -69 | -69 | -223 | -223 | -376 | -376 | -604 | -604 | -685 | -685 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 26 | 1004202-26 | 2026-10-12 | 1 | Complete | Pass | 2026-10-13 05:35 | 2026-10-13 05:39 | 1 | Test 2 — CDA 2 | Previous failure at Test 2 — CDA 2: QDM14 reaches zero with V26 on | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87 | 86.2 | 25.9 | 25.7 | 87 | 86.2 | 25.9 | 25.7 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 2 | TRUE | Pass | 1 | 86.1 | 86.1 | 86.1 | 86.1 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.73 | Pass | 1 | 3 | 22.5 | 22.5 | 3 | 22.5 | 22.5 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -691 | -691 | 60 | 0 | 0 | TRUE | Pass | 1 | -74 | -74 | -227 | -227 | -381 | -381 | -610 | -610 | -684 | -684 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 27 | 1004202-27 | 2026-10-13 | 1 | Complete | Pass | 2026-10-13 23:58 | 2026-10-14 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87 | 86.3 | 26.3 | 26.1 | 86.9 | 86.3 | 26.3 | 26.1 | 60 | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.9 | 85.9 | 85.9 | 85.9 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.45 | Pass | 1 | 2.97 | 21.8 | 21.8 | 2.97 | 21.8 | 21.8 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.43 | TRUE | TRUE | Pass | 1 | -692 | -692 | 60 | 0 | 0 | TRUE | Pass | 1 | -78 | -78 | -228 | -228 | -377 | -377 | -601 | -601 | -682 | -682 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 28 | 1004202-28 | 2026-10-13 | 1 | Complete | Pass | 2026-10-14 | 2026-10-14 00:03 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.9 | 86.2 | 26.7 | 26.5 | 86.9 | 86.2 | 26.6 | 26.4 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.1 | 86.1 | 86 | 86 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 3.7 | Pass | 1 | 3 | 22.5 | 22.5 | 3 | 22.5 | 22.5 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.41 | TRUE | TRUE | Pass | 1 | -691 | -691 | 60 | 0 | 0 | TRUE | Pass | 1 | -75 | -75 | -228 | -228 | -381 | -381 | -608 | -608 | -681 | -681 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 29 | 1004202-29 | 2026-10-13 | 1 | Complete | Pass | 2026-10-14 00:03 | 2026-10-14 00:06 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.8 | 86.8 | 26.1 | 26 | 86.7 | 86.8 | 26.1 | 26 | 60 | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.8 | 86.7 | 86.7 | 86.7 | 60 | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.85 | Pass | 1 | 2.96 | 22.3 | 22.3 | 2.96 | 22.3 | 22.3 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.43 | TRUE | TRUE | Pass | 1 | -695 | -695 | 60 | 0 | 0 | TRUE | Pass | 1 | -69 | -69 | -222 | -222 | -375 | -375 | -601 | -601 | -683 | -683 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 30 | 1004202-30 | 2026-10-13 | 1 | Complete | Pass | 2026-10-14 00:07 | 2026-10-14 00:09 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.1 | 86.5 | 26.5 | 26.3 | 87.1 | 86.4 | 26.5 | 26.3 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86 | 86.2 | 86 | 86.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 4.25 | Pass | 1 | 3.06 | 22.6 | 22.6 | 3.06 | 22.6 | 22.6 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -697 | -697 | 60 | 0 | 0 | TRUE | Pass | 1 | -70 | -70 | -224 | -224 | -376 | -376 | -603 | -603 | -686 | -686 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 31 | 1004202-31 | 2026-10-13 | 1 | Complete | Pass | 2026-10-14 00:09 | 2026-10-14 00:12 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.7 | 86.5 | 26.4 | 26 | 86.6 | 86.5 | 26.4 | 26 | 60 | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86 | 86.1 | 86 | 86.1 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.93 | Pass | 1 | 2.92 | 22.6 | 22.6 | 2.92 | 22.6 | 22.6 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.43 | TRUE | TRUE | Pass | 1 | -696 | -696 | 60 | 0 | 0 | TRUE | Pass | 1 | -78 | -78 | -231 | -231 | -383 | -383 | -608 | -608 | -687 | -687 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 32 | 1004202-32 | 2026-10-13 | 1 | Complete | Pass | 2026-10-14 00:12 | 2026-10-14 00:14 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.9 | 86.3 | 27 | 26.7 | 86.9 | 86.3 | 27 | 26.6 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86 | 86.1 | 86 | 86.1 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 4.85 | Pass | 1 | 3 | 22.4 | 22.4 | 2.98 | 22.4 | 22.4 | 60 | 0.02 | 0.02 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.41 | TRUE | TRUE | Pass | 1 | -689 | -689 | 60 | 0 | 0 | TRUE | Pass | 1 | -68 | -68 | -223 | -223 | -378 | -378 | -609 | -609 | -683 | -683 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 33 | 1004202-33 | 2026-10-13 | 1 | Complete | Pass | 2026-10-14 00:14 | 2026-10-14 00:17 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.8 | 86 | 26.9 | 26.5 | 86.8 | 86 | 26.9 | 26.5 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.9 | 86 | 85.9 | 86 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 4.33 | Pass | 1 | 3.04 | 22.6 | 22.6 | 3.04 | 22.6 | 22.6 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.43 | TRUE | TRUE | Pass | 1 | -681 | -681 | 60 | 0 | 0 | TRUE | Pass | 1 | -62 | -62 | -218 | -218 | -368 | -368 | -596 | -596 | -680 | -680 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 34 | 1004202-34 | 2026-10-13 | 1 | Complete | Pass | 2026-10-14 00:17 | 2026-10-14 00:19 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.9 | 86 | 26.5 | 26.1 | 86.9 | 86 | 26.5 | 26.1 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.7 | 85.8 | 85.6 | 85.7 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 3.8 | Pass | 1 | 3.02 | 22.6 | 22.6 | 3.02 | 22.6 | 22.6 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.42 | TRUE | TRUE | Pass | 1 | -686 | -686 | 60 | 0 | 0 | TRUE | Pass | 1 | -74 | -74 | -228 | -228 | -382 | -382 | -610 | -610 | -681 | -681 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 35 | 1004202-35 | 2026-10-13 | 1 | Complete | Pass | 2026-10-14 00:19 | 2026-10-14 00:22 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 86.8 | 86.1 | 25.9 | 25.5 | 86.7 | 86 | 25.9 | 25.5 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 85.8 | 85.9 | 85.7 | 85.9 | 60 | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | Pass | 1 | 3.61 | Pass | 1 | 3.05 | 22.1 | 22.1 | 3.05 | 22.1 | 22.1 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.4 | TRUE | TRUE | Pass | 1 | -690 | -690 | 60 | 0 | 0 | TRUE | Pass | 1 | -70 | -70 | -223 | -223 | -376 | -376 | -606 | -606 | -680 | -680 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 36 | 1004202-36 | 2026-10-13 | 1 | Complete | Pass | 2026-10-14 00:22 | 2026-10-14 00:25 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.3 | 86.7 | 26.3 | 26.2 | 87.3 | 86.6 | 26.3 | 26.2 | 60 | 0 | 0 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.3 | 86.3 | 86.2 | 86.2 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 3.05 | Pass | 1 | 3.05 | 22.8 | 22.8 | 3.05 | 22.8 | 22.8 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.48 | TRUE | TRUE | Pass | 1 | -689 | -689 | 60 | 0 | 0 | TRUE | Pass | 1 | -71 | -71 | -224 | -224 | -376 | -376 | -603 | -603 | -680 | -680 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1004202 | 37 | 1004202-37 | 2026-10-13 | 1 | Complete | Pass | 2026-10-14 00:25 | 2026-10-14 00:27 | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.2 | 86.3 | 26.4 | 26.2 | 87.2 | 86.3 | 26.4 | 26.2 | 60 | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.5 | 86.5 | 86.4 | 86.4 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | Pass | 1 | 3.75 | Pass | 1 | 3.06 | 22.4 | 22.4 | 3.05 | 22.4 | 22.4 | 60 | 0.01 | 0.01 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | 0.44 | TRUE | TRUE | Pass | 1 | -690 | -690 | 60 | 0 | 0 | TRUE | Pass | 1 | -80 | -80 | -232 | -232 | -385 | -385 | -611 | -611 | -683 | -683 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE