## Test runs
Job number | Run ID | Serial number | Test date | Test number | Status | Decision | Started (UTC) | Completed (UTC) | Failed attempts | Previously failed steps | Notes | Preparation ¦ Result | Preparation ¦ Attempts | Preparation ¦ fixture | Preparation ¦ sealed | Preparation ¦ zero | Test 1 — CDA 1 ¦ Result | Test 1 — CDA 1 ¦ Attempts | Test 1 — CDA 1 ¦ QDF6_initial | Test 1 — CDA 1 ¦ QDM14_initial | Test 1 — CDA 1 ¦ QDF2_initial | Test 1 — CDA 1 ¦ QDF4_initial | Test 1 — CDA 1 ¦ QDF6_final | Test 1 — CDA 1 ¦ QDM14_final | Test 1 — CDA 1 ¦ QDF2_final | Test 1 — CDA 1 ¦ QDF4_final | Test 1 — CDA 1 ¦ elapsed_seconds | Test 1 — CDA 1 ¦ QDF6_difference | Test 1 — CDA 1 ¦ QDF6_decay | Test 1 — CDA 1 ¦ QDF6_pass | Test 1 — CDA 1 ¦ QDM14_difference | Test 1 — CDA 1 ¦ QDM14_decay | Test 1 — CDA 1 ¦ QDM14_pass | Test 1 — CDA 1 ¦ QDF2_difference | Test 1 — CDA 1 ¦ QDF2_decay | Test 1 — CDA 1 ¦ QDF2_pass | Test 1 — CDA 1 ¦ QDF4_difference | Test 1 — CDA 1 ¦ QDF4_decay | Test 1 — CDA 1 ¦ QDF4_pass | Test 2 — CDA 2 ¦ Result | Test 2 — CDA 2 ¦ Attempts | Test 2 — CDA 2 ¦ QDM14_zero | Test 3 — CDA 3 ¦ Result | Test 3 — CDA 3 ¦ Attempts | Test 3 — CDA 3 ¦ QDF18_initial | Test 3 — CDA 3 ¦ QDM7_initial | Test 3 — CDA 3 ¦ QDF18_final | Test 3 — CDA 3 ¦ QDM7_final | Test 3 — CDA 3 ¦ elapsed_seconds | Test 3 — CDA 3 ¦ QDF18_difference | Test 3 — CDA 3 ¦ QDF18_decay | Test 3 — CDA 3 ¦ QDF18_pass | Test 3 — CDA 3 ¦ QDM7_difference | Test 3 — CDA 3 ¦ QDM7_decay | Test 3 — CDA 3 ¦ QDM7_pass | ER1 — Pre-calibration ¦ Result | ER1 — Pre-calibration ¦ Attempts | ER1 — Pre-calibration ¦ R5_precalibration | Test 4 — ER1 decay ¦ Result | Test 4 — ER1 decay ¦ Attempts | Test 4 — ER1 decay ¦ CV5_initial | Test 4 — ER1 decay ¦ QDM5_initial | Test 4 — ER1 decay ¦ QDF22_initial | Test 4 — ER1 decay ¦ CV5_final | Test 4 — ER1 decay ¦ QDM5_final | Test 4 — ER1 decay ¦ QDF22_final | Test 4 — ER1 decay ¦ elapsed_seconds | Test 4 — ER1 decay ¦ CV5_difference | Test 4 — ER1 decay ¦ CV5_decay | Test 4 — ER1 decay ¦ CV5_pass | Test 4 — ER1 decay ¦ QDM5_difference | Test 4 — ER1 decay ¦ QDM5_decay | Test 4 — ER1 decay ¦ QDM5_pass | Test 4 — ER1 decay ¦ QDF22_difference | Test 4 — ER1 decay ¦ QDF22_decay | Test 4 — ER1 decay ¦ QDF22_pass | Test 4.5 — CV3 / ER1 ¦ Result | Test 4.5 — CV3 / ER1 ¦ Attempts | Test 4.5 — CV3 / ER1 ¦ CV5_pressure | Test 4.5 — CV3 / ER1 ¦ CV3_airflow | Test 4.5 — CV3 / ER1 ¦ CV5_stable | Test 5 — Vac 1 ¦ Result | Test 5 — Vac 1 ¦ Attempts | Test 5 — Vac 1 ¦ QDF3_initial | Test 5 — Vac 1 ¦ QDF3_final | Test 5 — Vac 1 ¦ elapsed_seconds | Test 5 — Vac 1 ¦ QDF3_difference | Test 5 — Vac 1 ¦ QDF3_decay | Test 5 — Vac 1 ¦ QDF3_pass | Test 6 — Vac 2 ¦ Result | Test 6 — Vac 2 ¦ Attempts | Test 6 — Vac 2 ¦ QDM1_1V | Test 6 — Vac 2 ¦ QDF19_1V | Test 6 — Vac 2 ¦ QDM1_3V | Test 6 — Vac 2 ¦ QDF19_3V | Test 6 — Vac 2 ¦ QDM1_5V | Test 6 — Vac 2 ¦ QDF19_5V | Test 6 — Vac 2 ¦ QDM1_8V | Test 6 — Vac 2 ¦ QDF19_8V | Test 6 — Vac 2 ¦ QDM1_10V | Test 6 — Vac 2 ¦ QDF19_10V | Test 6 — Vac 2 ¦ return_zero | Test 6 — Vac 2 ¦ QDM1_1V_pass | Test 6 — Vac 2 ¦ QDF19_1V_pass | Test 6 — Vac 2 ¦ QDM1_3V_pass | Test 6 — Vac 2 ¦ QDF19_3V_pass | Test 6 — Vac 2 ¦ QDM1_5V_pass | Test 6 — Vac 2 ¦ QDF19_5V_pass | Test 6 — Vac 2 ¦ QDM1_8V_pass | Test 6 — Vac 2 ¦ QDF19_8V_pass | Test 6 — Vac 2 ¦ QDM1_10V_pass | Test 6 — Vac 2 ¦ QDF19_10V_pass
RMA | 1 | 1389527 | 2026-10-12 | 1 | In progress |  | 2026-10-12 14:43 |  | 0 |  |  | Pass | 1 | TRUE | TRUE | TRUE | Pass | 1 | 87.3 | 86.8 | 26.2 | 26 | 87.2 | 86.7 | 26.2 | 26 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE | 0 | 0 | TRUE | 0 | 0 | TRUE | Pass | 1 | TRUE | Pass | 1 | 86.7 | 86.8 | 86.6 | 86.7 | 60 | 0.1 | 0.1 | TRUE | 0.1 | 0.1 | TRUE |  | 0 |  |  | 0 | [17 empty] | 0 |  |  |  |  | 0 | [7 empty] | 0